# Superconducting Magnet System Inquiry

Name :

University/Institute/Company :

Telephone number :

Fax number :

Email address :

1.  Magnetic field required :	_____ Tesla

Direction:	Vertical	(	Horizontal	(	Vector Magnet	(

2.  Sample rotation relative to field direction		No (		Yes (

If needed specify:	 Continuous 	(	Precision (0.2()	(

3.  Magnetic field homogeneity:	______  (Typical is + 0.1 % over a 10 mm diameter)

4.  Minimum sample space:		Diameter ___ inches (  ___ mm)

Height  ___  inches (  ___  mm)

5.  Sample Environment : 		Sample in helium vapor / liquid	(

Sample in vacuum			(

Sample in Ultra High Vacuum	(

6.  Temperature range			1.5 K – 300 K (He-4)			(

Long term operation > 100 K		(

0.3 K – 20 K / 300 K (He-3)		(

less than 0.3 K				(

7.  Type of Liquid Helium dewar	Standard (20 liter capacity)		(

Standard (30 – 50 liter capacity)	(

Ultra Low loss (50 liter capacity	(

8.  Optical access required				No	( 	Yes	(

If required- Do you need -   Bottom access 	(	Horizontal access	(

9.  Wires needed for users’ experiments :		No	(

Yes	(	How many _____

10.  Coaxial cables needed for users’ experiments :		No 	(

Yes	(

If yes, choose type 	Miniature flexible 	(   	How many ___

Semi rigid	(	How many ____

9.  Clear shot tubes into the IVS			No	(

Yes	(	How many _____

Size  ________

12.  Four quadrant magnet power required			No 	(

Yes	(

13.  Automatic temperature controller required		No 	(

Yes	(

14.  High vacuum pumping station required			No 	(

Yes	(

15.  Mechanical pumping station required			No	(

Yes	(

16.  System installation required				No 	(

Yes	(

17.  Ceiling height restrictions		No	(

Yes	(	Available height  ________

18.  What kind of experiments do you need this system for ?

______________________________________________________________

_______________________________________________________________

19.  Is this inquiry for an immediate purchase or for proposal ?

__________________________________________________